Alan & Myra Ferguson

109 Jenny Road

469-3399

Permit # 2013-45

Map/ID #  215/21

Expansion Of existing solar electric by 3.3KW and a HW solar consisting of 3 roof top solar thermal collectors and a 105 gallon hot water tank.

08-28-13	Permit 2013-33, 109 Jenny Road. I went to inspect the rough in electrical wiring, radiant heat plumbing, and the installation of addition solar panels. Looked good. They will be spraying foam insulation and coating attic and crawl spaces with a fire retardant. The solar is almost completed and I will inspect it on Tuesday as well as the insulation.

Time 1.0

09-03-13	Permit 2013-33, 109 Jenny Road. I inspected the sprayed foam insulation and told them they could cover walls, etc. and I also did the inspection of the completed addition to their electrical solar system.

Time 0.6

David H Lersch

Plainfield Building Inspector