Paul Yates

1100 Route 12A

978-394-2790

Permit # 2013-13

Map/Lot 107/2

Renovations of the first floor to gun shop/store and fix up upper floors

05-16-13	Permit-applied, General Store. I met with the owner and contractor to go over their plans and how they were progressing.

Time 0.3

08-12-13	Permit 2013-13, 1100 Route 12A I stopped by to talk to Paul and his contractor. He has the new side egress door that will replace a south side window. He is removing the trap door from the middle of the floor and making a set of stairs to the basement. All of the cooking equipment and counter has been removed. A section of the counter he has moved to the front for customers to set at.

Time0.3

09-24-13	Permit 2013-13, 1100 Route 12A. I stopped by to see the progress. The apartment entry wall that contained an entrance to a room at the back of the store was closed in and finished. The flooring for that room was finished, removing the trap door to the basement. A new set of stairs to the basement was completed and the window at the top of the stairs had steel bars installed. This room also had a combination lock installed in the door. Electrical receptacles were installed in surface mounted boxes and all wiring was installed in rigid conduit. I think that room was going to be a shop or work room. A new wall was built with a large window in the area that had the stove and hood. Looked great so far.

Time 0.4

10-15-13	Permit 2013-13, 1100 Route 12A. I stopped by to see progress. Store has new shingles, painted, porch railings and new steps on left rear of porch. Basement interior walls were sealed and a channel around the inside perimeter of the walls collected any water. The shop and rear storage rooms were completed. Waiting on bars for front of store. Looks good so far.

Time 0.4

David H Lersch

Plainfield Building Inspector