Laurie and Brad Atwater

1108 Route 12A

675-2815

Permit #2018-59

Map/Lot 108/34

10.88kw solar

10-17-18	Permit 2018-59, 1108 Route 12A. Met with solar contractor and inspected the 10.88KW solar system with inverter, electrical panels, junction boxes and labels. I will issue completion certificate.

Time 0.5

David H Lersch

Plainfield Building Inspector