Cynthia Patalno

1127 Route 12A

675-5582

Permit # 2015-30

Map/Lot 108/3

post barn

07-21-15	Permit 2015-30, 1127 Route 12A. Went over plans for the post and beam barn at Anne's.

Time 0.7

08-24-15	Permit 2015-30, 1127 Route 12A. Inspected the holes for the posts for the post barn. Looked okay and he could fill in the holes.

Time 0.5

10-22-16	Permit 2015-30, 1127 Route 12A. Response to 7/31/15 letter was all completed except for the metal roof. Went by on return from another inspection and saw that the roof was installed so I will issue a certificate of completion.

Time 0.1

David H Lersch

Plainfield Building Inspector