Peter Danen

113 Tallow Hill Road

359-1476

Permit # 2013-12

Map/Lot 254/7

20x20 addition w/8x8 mud room, two story

including a full basement, bath, bedroom and office

05-30-13	Permit 2013-12, 113 Tallow Hill Road. I received a call yesterday to inspect the footer forms that would be ready around noon today. Everything looked okay and told them they could order concrete.

Time 0.4

06-05-13	Permit 2013-12, 113 Tallow Hill Road. Inspected the wall forms for the addition and it was okay.

Time 0.4

09-19-13	Permit 2013-12, 113 Tallow Hill Road. Pete called and had me inspect the rough in electrical and plumbing work that was completed in the addition and changes in the existing bathroom on the second floor. Looked okay.

Time 0.5

04-12-14	Permit 2013-12, 113 Tallow Hill Road. Met with Pete to inspect his addition. Inside work completed and looked okay. Large deck at entrance still needs the railings installed. I also gave him to read some of the energy codes that I printed along with the small handbook that details some of the codes as well as a large section on energy star requirements and procedures.

Time 0.9

David H Lersch

Plainfield Building Inspector