Peter Whybrow

109 Daniels Road

359-1476

Permit # 2014-88

Permit # 2016-08

Map/ID # 255/3

Kitchen and bath remodel

119 Westgate Road

11-15-14	Permit 2014-88, 119 Westgate Road. Win completed the rough in electrical and plumbing and gave the okay to insulate and cover.

Time 1.0

02-12-15	Permit 2014-88, 119 Westgate Road. Win did the final electrical inspection, only the electrical work has been finished and inspected. There are still aren't any kitchen cabinets installed.

Time 1.0

05-30-17	Permit 2016-08, 119 Westgate Road. Letter sent, permit exp w/o CO

11-13-18	Permit 2016-08, 119 Westgate. Met with Pete to do a final inspection. Kitchen completed. A few of the old outside walls only had one receptacle using wire mold, does not meet spacing code. Since only the walls that were new or had studs exposed met the code and not the existing ones, I will issue a certificate of completion.

Time 0.4

David H Lersch

Plainfield Building Inspector