Daniel Cullen

120 Black Hill Road

359-3801

Permit # 2017-74

Map/Lot 204/27

One energy storage system

06-05-18	Permit 2017-74, 120 Black Hill Road. I inspected the battery back-				up system that is connected through a transfer switch to the main electrical 		panel. In the event of a power failure the battery system provides 				electricity to the main panel for the house and activates the solar panels 			which will provide electricity and also charge the batteries. everything 			looked okay and I will issue a Certificate of Completion.

Time 0.8

David H Lersch

Plainfield Building Inspector