JM Enterprises LLC

Matt Smith

58 Root Hill Road

Cornish 03745

381-7811

Permit # 2017-70

Map/Lot 256/12

light fixtures and partitions

1214 Route 12A

10-03-17	Permit 2017-70, 1214 Route 12A. They were there working on getting 			ready to build partitions and we discussed what they were going to do.

Time 0.2

10-19-17	Permit 2017-70, 1214 Route 12A. Inspected the rough in plumbing for the 			two bathrooms that he is building. Front office is painted and new 				switches and receptacles were installed. New rough in electrical is in the 			bathrooms and in the room behind the office. In the right side garages a 			storage room was constructed with stairs going to storage area over room. 			Looked okay.

Time 0.6

06-28-18	Permit 2017-70, 1214 route 12A. I completed the final inspection of the 			renovations. Insulation installed on the outside of the left half of the 			building and new siding and metal roofing. Front and rear office space 			completed as well as the bathroom. In the right half, new lighting, storage 			room, and garage space. I will issue a Certificate of Completion.

Time 0.2

David H Lersch

Plainfield Building Inspector