Jonathan Wilmot

1253 Route 120

359-4104

Permit # 2017-57

Map/Lot 271 1

Upgrade to 200 amp and solar

07-26-17	Permit 2017-xx, 1253 Route 120. Jim called to have me inspect the new 			200 ampere service that was complete to the meter panel with a disconnect 		so Liberty could reconnect electrical service. Looked okay and notified 			Liberty via email.

Time 0.4

07-28-17	Permit 2017-30, 1253 Route 120. I inspected the new 200 ampere panel in the basement, the solar inverter and the solar disconnect near the meter panel with AC disconnect along with the cables and their terminations.

Need to go back when the solar company installs labels and has tested the solar system and it is operational.

Time 0.8

07-28-17	Permit 2017-xx, 1253 Route 120. Norwich Tech. finished the testing and installing labels and called to have me inspect and sign off on the install.

I can't see a permit for this work.

Time 0.4

08-03-17	Permit 2017-57, 1253 Route 120. Picked up permit today and will issue a Completion Certificate.

David H Lersch

Plainfield Building Inspector