Greg Castell

126 Main Street

Meriden

510-0032

Permit # 2014-24

Map/Lot

renovate room between house and garage and solar

05-27-14	Permit 2014-24, 126 Main Street. when I was at the town hall Steve said Bruce Rogers was looking for me to inspect the work being done. I went there and inspected the rough in electrical wiring in the area between the house and the garage. I also saw some of the solar wiring up near the peak of the roof. Greg wants to have it insulated and that is why they wanted my to inspect the wiring. I told him to let Bruce know I was there and it was okay to insulate.

Time 0.3

07-29-14	Permit 2104-24, 126 Main Street. Inspected the 3.5 kw roof mounted solar PV system. Okay

David H Lersch

Plainfield Building Inspector