John Budner

1311 Route 12A

675-2469

Permit # 2012-65

Map/Lot 259/11

8’x29’ addition to the rear of the house

10-11-12	Permit-2012-65, 1311 Route 12A. Met with contractor and Randy to go over plans for the addition on the rear of the house.

Time 0.6

11-01-12	Permit 2012-65, 1311 Route 12A. I inspected the footer forms with rebar

installed, supported and the ends into holes drilled into existing foundation. Everything was okay and I told them they could pour.

0.4

11-05-12	Permit 2012-65, 1311 Route 12A. I inspected the wall forms for the addition and they were okay.

Time 0.5

01-07-13	Permit 2012-65, 1311 Route 12A. Received a call to have the perimeter drains inspected so they could backfill. I had Jim email me the pictures of the drains and then after reviewing the pictures, I gave the okay.

Time 0.3

01-15-13	Permit 2012-65. 1311 Route 12A. Jim called to have a rough in electrical inspection in addition to discussing the addition. I called Win and left him a message to call Jim to schedule the inspection.

Time 0.2

02-14-13	Permit 2012-65, 1311 Route 12A. Jim called to have the electrical wiring they replaced and I called Win to schedule the inspection with Jim.

Time 0.2

David H Lersch

Plainfield Building Inspector