Tom and Kim Jones

PO Box 397, Meriden

510-0018

Permit # 2016-42

Map/Lot 250/17

2 adjoining decks

172 Bean Road

06-29-16	Permit - 2016-42, 172 Bean Road. Met with owner to discuss his plans for the a wood deck that will take the place of the upper side deck of the above ground pool. It will be eight feet wide and run the length of the pool. The upper end of the deck will be at almost ground lever as the ground slopes upward from the pool.

Time 0.5

07-26-16	Permit 2016-42, 172 Bean Road. Inspected the poured concrete piers and the framing for the deck by the pool. Excellent job of fitting deck to original pool deck. He used 2x10's which is more than sufficient for the load and will have Trex deck boards installed.

Time 0.5

06-15-17	Permit 2016-42, 172 Bean Road. Inspected the piers for the deck next to the rear of the house, looked okay. Also inspected the deck next to the pool, decking on and working on railing.

Time 0.6

07-05-17	Permit 2016-42, 172 Bean Road. I inspected the framing and supports for the deck on the back of the house and the stairs going down to the deck at the pool. Everything looked okay.

Time 0.6

10-18-17	Permit 2016-42, 172 Bean Road. Inspected the completed decks, steps, and completed fence around new deck completely enclosing the pool.

Very well built and pleasing to the eye. I will issue a Certificate of Completion.

Time 0.3

David H Lersch

Plainfield Building Inspector