Steve & Donna Beaupre

20 Grantham Mountain Road

469-3425

Permit # 2010-42

Map/ID # 245/21

12x24 pole barn with electrical and water

07-14-10	Permit 2010-42, 20 Grantham Mountain Road. Donna called about inspections on their pole barn. She said they already started and have the posts installed already. The posts are set in tubes with three feet of concrete and two feet of gravel on top. They are putting electrical and water to the barn and I told her I would need to see the trenches prior to them backfilling. I also mentioned that I should have seen the tubes prior to pouring the concrete as per inspection sheet.

Time 0.2

David H Lersch

Plainfield Building Inspector