Ashley Robinson

208 Ledge Lane

Plainfield

359-6224

Permit # 2014-62

Map/ID # 256/18

10-06-14	Permit 2014-62, 208 Ledge Lane. Inspected the footer forms and rebar. 			Looked good, pins in old foundation to connect wall to old foundation 			wall.

Time 0.8

10-07-14	Permit 2014-62, 208 Ledge Lane. Went to inspect the frost wall forms. 			Not ready.

Time 0.5

10-08-14	Permit 2014-62, 208 Ledge Lane. Went to inspect the frost wall forms. 			Okay.

Time 0.7

10-12-14	Permit 2014-62, 208 Ledge Lane. Went to inspect the 3 inches of blue 			foam insulation and perimeter drains, everything looked okay.

Time 0.4

11-11-14	Permit 2014-62, 208 Ledge Road. Inspected the rough in electrical. Told 			them to fire stop the holes.

Time 0.6

10-13-14	Permit 2014-62, 208 Ledge Road. Inspected the insulation upstairs and 			downstairs. Un-faced bats with poly over it. Holes  filled in.

Time 0.4

David H Lersch

Plainfield Building Inspector