Thomas Cady

219 Route 120

469-0073

Permit # 2011-57

Permit # 2012-76

Map/ID # 213/33

Mud room between garage and house, 8x8 mudroom on south end and 32x30 two story addition on east side of house.

10-10-11	Permit-2011-57, 219 Route 120. Tom called and wanted me to inspect the forms for the floating slab for the mud room between the garage and the house that he said would be ready so I could inspect in the morning as he wanted to pour the concrete. The site wasn’t anywhere ready but we went over what he was going to do. I told him to let me know when they are ready to pour and I would come back.

Time 0.6

10-12-11	Permit-2011-57, 219 Route 120. Tom called and said he was ready. I went by and they weren’t 100 percent ready but close enough so he could order the concrete as he wanted to beat the rain that was coming. I gave the go ahead.

Time 0.6

11-17-11	Permit 2011-57, 219 Route 120. Tom called and said that all the rough in plumbing and electrical was ready for inspection in the section between the house and the garage (right side is office space, not used as a garage).

Looked okay and told him he could sheetrock.

Time 0.5

12-14-11	Permit 2011-57, 219 Route 120. I inspected the footer forms for the addition on the east side of the house. Looked okay and I told them they could pour.

Time 0.4

08-13-12	Permit 2011-57, 219 Route 120. Tom called to have me inspect the foam wall forms for the addition. It looked okay and since nothing was going under the floor, I told him I didn’t need to inspect it before he poured.

Time 0.9

David H Lersch

Plainfield Building Inspector