Michael M Higgins

238 Bean Road

443.1715

Permit # 2017-15

Map/Lot 250/14

two story addition, family room, exp kitchen

exp bath and deck

05-31-17	Permit 2017-15, 238 Bean Road. I inspected the footer forms for the house addition. Two rows of rebar on supports, bent at corners and wired together. Okay to pour.

Time 0.3

06-06-17	Permit 2017-15, 238 Bean Road. Inspected the wall forms for the addition,

waited for contractor to go over plans for rebar, okay to pour when he was 			ready.

time 0.6

06-09-17	Permit 2017-15, 238 Bean Road. I inspected the two inch blue foam 			insulation on both the outside and inside of the foundation.

Time 0.2

06-26-17	Permit 2017-15, 238 Bean Road. I inspected the six inches of blue foam 			insulation over the fill inside the foundation walls that will insulate the 			slab floor.

Time 0.5

08-14-17	Permit 2017-15, 238 Bean Road. Mike called for a framing inspection and 			I scheduled for Monday. Inspected framing and looked okay.

Time 0.6

09-05-17	Permit 2017-15, 238 Bean Road. Inspected the rough in plumbing and 			electrical as well as the black iron pipe gas line that his propane company 			installed. Okay to insulate.

Time 0.7

09-08-17	Permit 2017-15, 238 Bean Road. I inspected the sprayed in foam 				insulation. Very thorough. Okay to cover.

Time 0.5

05-23-18	Permit 2017-15, 238 Bean Road. Mike called to have me do the final 			inspection of his addition. Inspected the expanded bathroom upstairs with 			all new fixtures, walk in shower and deck off bathroom. Inspected the 			addition of the family room and the expanded kitchen. I will issue a 			Certificate of Completion.

Time 0.5

David H Lersch

Plainfield Building Inspector