Martin Warren

244 Methodist Hill Road

727-4377

Permit # 2018-44

Map/Lot 212/10

7.93KP PV roof mounted solar

08-23-18	Permit 2018-44, 244 Methodist Hill Road. I met Kim to inspect the roof mounted Solar PV system. All labels and disconnects were okay and system was operational. I will issue a Certificate of Completion.

Time 0.4

David H Lersch

Plainfield Building Inspector