Brent Farnsworth

245 Center of Town Road

306-6042

Permit # 2017-36

Map/Lot xxx/xx

convert apartments to duplex plus other wor

245 Center of Town Road

02-28-17	Call about house on Center of Town Road about making it into two 			residences. I will get with him around the 20th of March.

Time 0.1

03-22-17	Permit - none, 245 Center of Town Road. Met with Brent to look over 			house. Original two story house on right side has two kitchens, utility

room and was used as two apartments. An two story addition was added 			on the left side of the house, part of which was the original garage. A new 			attached garage was built on the rear of the addition and since then it has 			been converted to a two story addition, creating two apartments. Each side 		has a utility room with water heater and boiler. There is a separate 				detached garage perpendicular to the road on left.

Time 0.8

04-11-17	Permit - none, 245 Center of Town Road. Went to check electric service 			entrance for the house and garage. The house only has one electric service 			and the detached garage has its own service.

Time 0.5

04-18-17	Zoning meeting for 245 Center of Town Road. Two of the kitchens were 			removed, just sink, ref. Still have to check in the attic for fire separation

and to make sure where the two units meet that it has an one hour rated 			fire wall.

06-13-17	Permit 2017-36, 245 Center of Town Road. Met with Brent to go over 			permit application and the work that will be done. New windows in 			bedrooms to meet egress, hard wired detectors with wireless connections,

5/8 fire code sheetrock in attic to meet one hour fire rating, will add 1/2 			inch sheetrock the sides of the walls that are shared. remove deck, change 			door to window, remove ramp and install set of stairs on back of house.

Time 1.0

David H Lersch

Plainfield Building Inspector