278 route 120

11-09-12	Permit-none, 278 Route 120. Met with owner who wants to build a house and is trenching and installing conduit back through the woods to a manufactured home that he wants to use while he builds his home. I inspected the trench that was completed so far and it looked okay. They were backfilling the trench with hand sifted dirt instead of sand. It was deep enough and the fill was free of any large stones.

I also went by the town hall in between looking for the location and the inspection itself.

Time 1.0

David H Lersch

Plainfield Building Inspector