Larvette M Baker

33 Hayward Road

508-674-2208

603-709-7156

Permit # 2016-73

Map/Lot

new bathroom and shed

Larvette Baker  - 33 Hayward Rd.     Residence Alterations

Date: Dec 8, 2016       Permit #:          Activity: Laundry Rough-in electrical & plumbing

Met with Owner’s father on-site. New recessed  boxes for plumbing includes separate box w/removable cover for rated vent device.  New feed for dryer from wall box to panel, but not into panel yet. New wall box for washer electrical installed. Old outlet feed, still present, to be cut back before sheetrock.

15 min.

12-08-16	Permit 2016-73, 33 Hayward Road. Phone calls and emails to schedule 			inspection of moving laundry to upper floor and use space for a new 			bathroom.

Time 0.4

04-21-17	Permit 2016-73, 33 Hayward Road. Inspected rough plumbing and 				electrical for new bathroom on lower level. Looked okay except the 			shower control wasn't mounted facing the shower but the toilet. Told 			owner to call plumber.

Time .04

04-22-18	Permit 2016-73, 33 Hayward Road. Sent status letter, no response as of 			7/15/18. Filed paper work in Town Office.

David H Lersch

Plainfield Building Inspector