Martin & Jo-Ann Morgan

340 Bean Road

Plainfield, NH 03781

469-3502

Permit #2014-34

Map/Lot 250/12

16x24 addition – off kitchen

06-02-14	Permit 2014-34, 340 Bean Road. Performed the inspection of the footer forms for the addition and it was okay to pour.

Time 0.4

06-10-14	Permit 2014-34, 340 Bean Road. Performed the inspection of the wall forms for the addition and it was okay to pour.

Time 0.7

06-20-14	Permit 2014-34, 340 Bean Road. Inspected the forms for the vertical addition to the foundation wall as they wanted them higher. Okay to pour.

Time 0.5

07-08-14	Permit 2014-34, 340 Bean Road. I inspected the blue foam insulation and the radiant heat plumbing that will be under the basement floor. Gave the okay to pour.

Time 0.4

09-16-14	Permit 2014-34, 340 Bean Road. Inspected the rough in electrical for the addition.

Time 0.6

09-29-14	Permit 2014-34, 340 Bean Road. I inspected the cellulose insulation in the basement and first floor of the addition. Still needs the r-10 along the slab that is at grade.

Time 0.5

07-07-15	Called Bruce Rogers twice, no response. Status letter sent week ending 07-08-15

David H Lersch

Plainfield Building Inspector