Robbie Williams

373 Route 120

Plainfield

469-3954

Permit # 2012-09

Map/Lot 226/17

30x40 garage/storage

04-01-12	Permit 2012-09, 373 Route 120. Inspected the forms and rebar for the 30’x40’ storage/garage floating slab. Looked okay notified contractor it was okay to pour.

Time 0.9

06-30-12	Permit 2012-09, 373 Route 120. I inspected the aerial electrical wires from the new pole with panel and disconnect to the garage and its electrical panel so National Grid would hook up power to the garage. No wiring in garage except main feed to panel. Framing looked okay. Notified NG it was okay to connect. Work order 12628943

Time 0.8

David H Lersch

Plainfield Building Inspector