David Lillie

386 Route 12A

298-5250

Permit #2008-59

Project-29x12 addition to current home

Map/Lot 218/7

09-02-08	Permit 2008-59, 386 Route 12A. Talked to Dave regarding

bulkhead and requirement to have an egress in the basement. He will extend a hallway 8’ high to the end of the addition although the rest of the addition will have 4’ frost walls.

Time 0.2

09-17-08	Permit 2008-59, 386 Route 12A. Inspected eight foot high wall footer for extending the basement exit under the new addition to the new bulkhead location. Looked okay so far, not completely finished, I would stop by later as I had an inspection on River Road around four. Stopped by on way home from River Road, footer looked okay.

Time 0.7

09-18-08	Permit 2008-59, 386 Route 12A. Stopped by on way back from Freeman Road to see if they were ready for the wall forms inspection to save a trip. They had most of the forms in place and I told them they could our when they were ready.