Jordan Moore

130 E. 94th Street  #9-E

NY, NY 10128

843-532-9389

Permit # 2013-04

Map/Lot 219/6

Raise house for foundation and basement at

409 River Road

03-14-13	Permit 2013-04, 409 River Road. Stan called about the job he has of lifting up the house and putting a foundation/basement under it. He was asking about insulation for the foundation and I told him it needs at least two inches of blue foam or equivalent if insulating the inside walls instead. He said he would have to get back to me as he didn’t price insulation in his quote and would have to talk to Jordan.

Time 0.2

04-09-13	Permit 2013-04, 409 River Road. I went to look at the site as they were going to pour a small footer to support the chimney when they raise the house.

Time 0.5

04-26-13	Permit 2013-04, 409 River Road. I was called to inspect the footer forms. The house was raised up and in addition to the footer forms they had wall forms around the stone foundation for the chimney and once the walls were poured they were going to pour cement between the rock foundation and the support wall the poured. The footer forms were ready and were okay. Inspected the sills and the joists under the house and looked to be in pretty good shape.

Time 0.8

05-01-13	Permit 2013-04, 409 River Road. Inspected part of foundation wall forms and the forms around the stone chimney support for the rear chimney. Look okay.

Time 0.9

David H Lersch

Plainfield Building Inspector