Gina Surgenor

PO Box 306

Meriden

748-1367

Permit # 2016-65

Map/Lot 104/7

19x36 pole barn

48 Colby Hill Road

10-13-16	Permit 2016-65, 48 Colby Hill Road. I went and inspected the slab 			that was already poured, looked like edges were  thick enough. 			Email received from Steve as he was there before the slab was 			poured. "There is raised wire mess throughout and tied rebar 			across the entire periphery and under the areas where middle 2 			sections of post and beam will go, near the 2 expansion cuts in the 			concrete."

Time 0.7

10-03-17	Letter sent, no response.

10-24-17	Permit 2016-65, 48 Colby Hill Road. Received a call in response to 			status letter. Inspected completed barn. Looked okay, no doors on 			but not putting any on in the near future. I will issue a CC.

Time 0.3

David H Lersch

Plainfield Building Inspector