Jesse Zabski

49 Andrews Lane

Meriden

469-3374

Permit # 2012-64

Map/ID #  106/6

32x32 horse barn

10-16-12	Permit 2012-64, 49 Andrews Lane. On 10/2 I received a call to inspect the trench for the water line and above it the electrical line. I was out of the area and I had him take pictures. I went by to see how things were going and I was surprised to see a frost wall instead of piers. I was going to call him but on 10/26 he called and apologized, he wasn’t around when they changed from piers to a frost wall. He said they put in the required rebar, etc. They have a floor drain that looks like it goes to daylight along the driveway.

Time 0.4

12-06-13	Permit 2012-64, 49 Andrews Lane. Jesse called regarding my letter I sent in October regarding the permit for his barn. I told him I could look at it in March as I was out of town if that was okay with him. Scheduled for March.

Time 0.2

David H Lersch

Plainfield Building Inspector