John Stephenson

8 Black Hill Road

298-8834

Permit # 2017-78

Map/Lot 204/29

5.2kw pv roof mounted solar

12-28-17	Permit 2017-78, 8 Black Hill Road. Received a call from the solar company requesting an inspection of the completed roof mounted solar.

Left word for Brad and emailed him the permit information.

Time 0.2

12-29-17 Email from Brad

Hi Dave,

I met Kim Quirk(Energy Emporium) at the Stevenson's (#8 Black Hill Road) and

inspected the solar installation. The rooftop units are laid out as shown on

the permit sketch. Conduit runs neatly from array to roof edge, over and

down rake edge of roof trim, around corner jet-work, down corner-board to

junction box and into meter/disconnect enclosure. Conduit has slip joints

and is labeled, as is junction box, meter box, and inside load center.

Grounding is evident inside and out. This set-up has a surge suppressor on

the interior (inverter?), which I haven't seen before. Nice neat

installation.

Regards,

Brad

David H Lersch

Plainfield Building Inspector