Nathan and Beth Sharkey

528 Old County Road

Plainfield

667-6908

Permit #2017-06

Map/Lot 202/8

barn

05-03-17	Permit 2017-06, 528 Old County Road. Inspected the footer forms, using a 		keyway according to plans. Looked okay.

Time 0.8

05-04-17	Permit 2017-06, 528 Old County Road. Inspected the frost wall forms and they were okay.

Time 0.4

08-01-17	Permit 2017-06, 528 Old County Road. Inspected the completed barn. No electric as of inspection but conduit up through floor. Loft with stairs, railing, hand rails, and ballisters. I will issue a Certificate of Completion.

Time 0.4

David H Lersch

Plainfield Building Inspector