05-30-17	Permit 2017-xx, 570 Old County Road. Inspected long trench from pole to where pedestal will be located. Trench about three feet deep with conduit installed, soil very sandy so it is okay to use to backfill trench.

Time 0.4

David H Lersch

Plainfield Building Inspector