Jesse and Ruth Stalker

62 Pierce Road

298-8913

Permit # 2018-15

Map/Lot 218/3

generator

08-15-18	Permit 2018-15, 62 Pierce Road. Hi Dave,

I inspected the Stalker genset. I met owner and electrician on-site. We shut 		off line power and the genset fired up. We energized a light circuit and the 		power seemed steady. The electrician stepped through the genset on-board 		diagnostics which indicated that the power produced was within design 			and steady. The gen panel is beside the service entrance. Is there any 			labeling required? The gas set-up looked fine – do you get/collect 				anything on the gas installation? Let me know if I need to do anything 			else. Thanks Brad

I issued a Certificate of Completion

David H Lersch

Plainfield Building Inspector