Chris & Amanda Jewell

PO Box 414

Meriden

469-3137

Permit # 2014-83

Map/Lot 252/92

30x30 attached garage

65 Whitaker Road

foundation completed under 2013-61 for house

11-19-13	Permit 2013-31, 65 Whitaker Road. Went to inspect the footer forms for the garage. Due to ledge removal they weren’t ready, so I told them I would be back as I needed to be in Meriden at 2:30 anyway.

Time 0.7

11-19-13	Permit 2013-31, 65 Whitaker Road. Went by on my way to KUA to see if the footer forms were ready. They were with rebar installed and supported.

Time 0.4

11-20-13	Permit 2013-31, 65 Whitaker Road. Inspected the frost wall forms for the garage. I told them they could pour.

Time 0.3

02-21-14	Permit 2013-31, 65 Whitaker Road. (Win) Electrical service insp. at 65 Whitaker Rd.

Time 0.5.

02-25-14	Permit 2013-31, 65 Whitaker Road. Email from Win regarding electric service hook up. Notified Liberty Electric okay to connect.

Contractor will call when trench is ready to inspect. From the transformer to the house.

Time 0.2

David H Lersch

Plainfield Building Inspector