Kevin Rumrill

76 Beauty Hill

298-8494

Permit # 2008-67

Map/ID # 204/12

Changing house electrical service & adding service to garage

10-26-08	Permit 2008-67, 76 Beauty Hill. I received a call when I was in church asking if I could inspect the trench to provide electrical to the garage as well as changing the aerial service to the house to buried electrical. Looked okay and gave them permission to backfill. I Told them to call when the cables are run and the panels are installed.

Time 0.7

10-31-08	Permit 2008-67, 76 Beauty Hill. Inspected meter panel and dual disconnect panel and conduit and cables at pole. All looked okay and notified National Grid via email.

Time 1.0

David H Lersch

Plainfield Building Inspector