Diane D MacDonald

8 Westgate Road

675-5231

Permit # 2015-55

Map/Lot 108/27

change 2 bay garage to mud room and 1+ bay garage.

11-03-15	Permit 2015-55, 8 Westgate Road. Larry called to have me do a inspection of the work of creating a mudroom with part of the two bay garage. Looke okay.

Time 0.3

12-01-15	Permit 2015-55, 8 Westgate Road. I inspected the rough in electrical wiring, the new propane wall mounted boiler. Looked okay. The plumbing was partially installed for the two new wall mounted hot water heaters that will be attached to the new boiler. The rest of the house is still forced hot air.

Time 0.5

03-22-17	Status letter sent for final inspection. No contact as of 4/29/17, permit expired.

David H Lersch

Plainfield Building Inspector