Michael O’Leary

80 Ladieu Road

298-0535

Permit # 5029

Permit # 7064

Map/Lot 234/18

28’x42’ SFH

05-06-05	Permit 5029, 80 Ladieu Road. Talked to Michael about his SFH and what inspections were necessary.

Time 0:10

05-26-05	Permit 5029, 80 Ladieu Road. Inspected footer and  concrete walls that were poured already and forms for back wall. Conduit for electrical in place and main plumbing pipe run from inside foundation to septic tank. Buried electrical cables and conduit already installed and covered from the pole down at the end of the driveway to the meter approximately 2/3 up the driveway. From the meter to the foundation just the conduit has been installed and buried. From what I could see everything appeared okay.

Time 0:25

10-04-05	Permit 5029, 80 Ladieu Road. Inspected plumbing in basement so that the floor can be poured. Discussed construction of outside decks and progress so far. Roof being shingled, house will have radiant heat, and placement of the boiler and venting.

Time 0:35

03-10-06	Permit 5029, 80 Ladieu Road. I met with Michael to do the final rough in inspection as they were getting ready to install the sheetrock. The two story home has radiant heat for the first floor and hot water baseboard for the second floor. The insulation was blown in cellulose and it looks like it should be a very well insulated house. I told Michael to go ahead and close in the walls and to call me when the painting is the only thing that needs to be done.

Time 0:45