Colin & Laurie Skinner

82 Camp Road

469-3124

Permit # 2012-27

Map/Lot 251/9

Interior alterations & 30x16 deck, 16x16 3 season porch w/heat

05-17-12	Permit 2012-27, 82 Camp Road. I inspected the wiring and the changes to

wall and new door. Look okay and told them he could close in the walls.

Time 0.4

06-25-12	Permit 2012-27, 82 Camp Road. I inspected the framing and the rough in electrical for the rear addition including a three season porch and deck. The structure was supported on pre-cast concrete supports. It looked okay. They will be insulating by Wednesday. Their insulation R-factors for the floor, wall, and ceiling will be greater that the requirements for a house.

Time .05

David H Lersch

Plainfield Building Inspector