Douglas Gest

57 E Wheelock Street

Hanover 03755

643-0181

469-3136

cell 802-291-0532

Permit # 2012-12

Map/Lot 234/4

Renovation of entire house

83 Columbus Jordan Road

03-29-12	Permit 2012-12, 83 Columbus Jordan Road. Doug called to have me do a rough in inspection of the wiring and plumbing that was completed to date so they could insulate and close in the walls. They will be relocating the electrical service entrance to a pedestal, with buried service and all new wiring and new panels. He will be replacing the windows and I let him know that the two upstairs bedrooms needed an egress window. The kitchen section will be removed and rebuilt and the attached shed will be removed.

Time 1.0

04-19-12	Permit 2012-12, 83 Columbus Jordan Road. I went to inspect the trench for the buried electrical service entrance. They were just starting the trench except for under the road. They will call later when it is ready.

Time 0.8

04-19-12	Permit 2012-12, 83 Columbus Jordan Road. I inspected the trench with the conduit installed. I told them they could cover with 6 inches of sand then dirt. They had plenty of sand. They should have the pedestal in place with panels by tomorrow after noon.

Time 0.5

04-21-12	Permit 2012-12, 83 Columbus Jordan Road. I inspected the pedestal with the meter panel with the disconnect and the conduit on the pole. Looked okay and I will notify NH Co-Op that it is okay to connect service to the panel.

Time 0.8

05-16-12	Permit 2012-12, 83 Columbus Jordan Road. I inspected the wall forms for the new addition that replaces the old kitchen addition. Part will be crawl space and part full basement. I didn’t see the forms for the footer but what I could see and what the owner told me it was done correctly. I liked what I saw on the how they were doing the wall forms. I told them they could pour.

Time 0.5

06-05-12	Permit 2012-12, 83 Columbus Jordan Road. I inspected the plumbing in the floor of the basement section and the foundation insulation. Also I met with Robbie to go over the perimeter drains and I let him know he could backfill around the foundation.

Time 1.2

08-30-12	Permit 2012-12, 83 Columbus Jordan Road. Inspected most of the rough in electrical and plumbing so they could spray foam insulation. I will inspect the rest when I do the insulation inspection on Tuesday. Looked okay.

Time 0.7

09-04-12	Permit 2012-12, 83 Columbus Jordan Road. I inspected the insulation in the walls, ceiling, and in the basement including against the header. I also inspected electrical wiring in the basement that wasn’t ready on my last visit. I told Doug he could install the sheetrock.

Time 0.8

12-18-12	Permit 2012-12, 83 Columbus Jordan Road. Doug called to have the final inspection done. I told him I was out of town and I would contact Win to do the inspection. I emailed Win to have him contact Doug and do the final inspection and also inquired as to the status of the inspection on Chellis Road and the old Hook welding place. I attached the history of inspections for 83 Columbus Jordan Road.

Time 0.2

12-20-12	Permit 2012-12, 83 Columbus Jordan Road. Email received from Win

Spenser on 12-20-12

12/19 I went to 83 Columbus Road to do a final CO inspection. It's now okay to issue a CO for this permit.

I will issue a Certificate of Occupancy and email to Steve.

David H Lersch

Plainfield Building Inspector