Bill Sensenig

90 Whitaker Road

Permit # 2019-07

219-1423

Map/Lot # 252/19

2nd floor garage space

03-19-19	Permit 2019-07, 90 Whitaker pre-insulation. Met carpenter from GC 		(M.J. Toon Construction) on-site and walked through project (pre-			insulation electrical rough-in). Feed from main to sub-panel is run, 			but not yet tied in on the main panel end. Smoke, outlets, switches 			ok. All will be cellulose blow-in. Requested that they use rigid in the 			band joist on stairwell (2x9.25 cavity).

04-04-19	Permit 2019-07, 90 Whitaker Road. I went to do the insulation 			inspection of the garage area. All the walls and ceiling that needed 			to be insulated for the heated space were insulated okay. They will 			be installing fire code sheetrock on walls and ceiling.

Time 0.4

David H Lersch

Plainfield Building Inspector