Kate Whybrow

95 Daniels Road

675-2726

Permit # 7033

Permit 2009-44

Map/Lot 107/29

add 6x12 bath, winterize porch

06-30-09	Permit 7033, 95 Daniels Road. Received a call from the electrician to inspect the wiring in a room that is being renovated. The wiring was okay and told him he could cover up the walls. Work was started by Bill Knight but they changed contractors and there is other work going on. Also the permit really has expired and I called and told them to renew it as it needs renewed every year that the original work is going on.

Time 0.7

07-14-09	Permit 2009-44, 95 Daniels Road. John called and wanted me to look at the framing and some of the plumbing and electrical work for the bathroom. Looked okay. Discussed venting for the bathroom. He is going down the wall and under the floor to the outside.

Time 0.6

David H Lersch

Plainfield Building Inspector