Mark and Sarah Governo

98 Croydon Turnpike

443-9737

Permit # 2016-26

Map/Lot 227/18

renovate kitchen

06-03-16	Permit 2016-26, 98 Croydon Turnpike. Inspected the rough in electrical that Emily Electric had installed. Looked okay and told them to call when the kitchen was insulated.

Time 0.9

06/06-16	Permit 2016-26, 98 Croydon Turnpike. Inspected the insulation that was installed on the kitchen walls. Looked okay. Discussed with Mark about the need to install arc fault breakers in the kitchen as required by NEC 2014.

Time 1.0

08-02-16	Permit 2016-26, 98 Croydon Turnpike. Completed the final inspection of the kitchen. Looked great and combination arc-fault/gfi circuit breakers installed. I will issue a Certificate of Completion.

Time 1.0

David H Lersch

Plainfield Building Inspector