Edgewater Farms

1

4

Permit # 2016

Map/Lot

generator

Edgewater Farm – Electrical – trench for back-up generator lines

Date: Nov. 7, 2016         Permit #:          Activity: Buried electrical - house to generator.

Met with Owner and project electrician Jim Osterlund on-site. Trench from house to barn was 75% excavated w/conduit risers on house end and a couple of sections of the horizontal run in place. (They had just hit a wire and a water line when I arrived, which they fixed later that day.) Jim gave me a quick overview of the installation and I asked him to take pictures and forward them to you. He later confirmed that he had taken the pictures, but not yet sent them to you. They finished the trench later that day. He confirmed that they used the existing material (sandy/loam w/o large rocks or organic debris) for backfill and included caution tape in the trench.

20min

11-07-16	Permit-applied for, Edgewater Farms, 99 River Road. Jim Osterlund called about a generator to be installed early next year and they wanted to dig a trench and install the conduit before the ground freezes. I notified Brad to inspect the trench. About 75% was completed and sandy loam used to fill in the trench. Jim will be sending me pictures as well. He inspected the trench on the 8th and I was notified of the inspection in a response 11/16/160 to my email to Brad on 11//15/16.

Time 0.2

David H Lersch

Plainfield Building Inspector