Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2015-19

Map/Lot 104/02

kitchen and bath remodel, replace existing electrical wiring

18 Main Street

06-18-15	Permit 2015-19, KUA 18 Main Street. I inspected some of the rough in electrical and plumbing. There were lots of issues with the existing wiring, so they will be changing most of it. Also made some small changes to the design of the renovation. Looks okay so far, will be back when more is completed.

Time 0.6

David H Lersch

Plainfield Building Inspector