Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2015-05

Map/Lot 102/7

Miller Hall 52kw Solar system

57 Main Street

03-26-15	Permit 2015-05, KUA Miller Hall, 57 Main. Met with Doug to inspect the work that has been completed for the 52kw roof mounted solar system.

The solar panels were mounted on the south side of the front of the building and the inverters were mounted along with a new electrical panel.

Time 0.4

03-29-15	Permit 2015-05, KUA Miller Hall, 57 Main Street. Met with Greg, contractor, to go over solar installations and answer questions he had.

Time 0.7

04-08-15	Permit 2015-05, KUA Miller Hall 57 Main. I completed the final 				inspection of the 52KW solar electric roof mounted system. I signed off 			on the Liberty form and I will issue a Completion Certificate for KUA.

Time 0.4

David H Lersch

Plainfield Building Inspector