Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2019-03

Map/Lot 103/1

Full Renovate

13 Chellis Road

02-22-19	Permit 2019-03, KUA 13 Chellis Road.

Headmasters House Renovation partial rough-in inspection for 			insulation.

Met E&G lead, Mike Pushee, on-site. First visit. Walked through 			entire building to understand scope. Specifically reviewed rough-in 			electrical / plumbing in exterior walls. Extensive structural re-work 			of floors (I’ve seen no engineering info although Mike indicated that 			it has been done). I gave ok insulate exterior walls and asked to be 			called back when remaining rough-in is complete. Later called 			Doug to ask, in case they were not already planning, that at least 			r21 fiberglass be used in exterior walls.

05-07-19	Went to site with Brad and Doug. Discussed new permit for garage 			and then did a walk through. Getting close to being completed. 			Question about heating/air handler/vent. Doug will get information 			from ARC.

Time 03.

David H Lersch

Plainfield Building Inspector