Plainfield Church Parsonage

Route 12A

Permit # 2017-

Map/Lot

adding wall to make office and electrical

10-13-17	Permit 2017-xx, Route 12A. John called and wanted me to inspect the rough in electrical wiring he installed in the room that is now two rooms, one a new office. Added 2x4 along outside wall as there was only wood, no insulation. He installed some in the new wall. Looked okay.

Time 0.4

David H Lersch

Plainfield Building Inspector