Plainfield School

June 2008

06-24-08	Plainfield School. Bill Knight called and wanted me to come over and view the work being done. New power feed to garage and to new enlarged parking lot and lights. Inspected the trench and from the pole to the garage and it was okay. Conduit will be in tomorrow.

Time 0.5

06-25-08	Plainfield School. Inspected the trench with the conduit laid. It was schedule 80 due to being under either the driveway or the parking area. I told them it was okay to back fill.

Time 0.4

07-01-08	Plainfield School. Stopped by to see how the new parking lot electrical was progressing. The electrical from pole to the garage was completed except for NH co-op connecting at the pole and installing the meter.

Time 0.3

07-03-08	Plainfield School. Stopped by when I was coming back from town. Posts set in parking area and electrical boxes mounted.

Time 0.2