jan 2019 email

01-24-19

Subject: Do I need a Building Permit to Install a New Cold Climate Heat Pump
Dear Mr Lersch,
I will soon be having a new cold climate heat pump installed in my house by Arc Mechanical.  Do I need to have a building permit for this work?
Regards,
Evan
Oxenham

1-25-19

If it involves electrical, so yes.
---------- Original Message ----------
From: Evan Oxenham <evan.oxenham@gmail.com>
To: David Lersch <inspector@plainfieldnh.org>

 603-727-9368

So I am having Joanna Sharf of Emily Electric install a new 220 line on Monday (January 28) for this project and Arc Mechanical are planning to install the heat pump on February 4.  What do I need to do to get the building permit?

Regards,

Evan.

01-25-19

Responded to email telling him to go to town hall and apply. Permit should be approved before work is started or permit filed for.

01-16-19

From: Tsjellum van der Stok <tsjellum@gmail.com>
To: davejosie@juno.com
Subject: Electrical panel install in garage
Date: Wed, 16 Jan 2019 08:47:19 -0500
Hi David,
I am looking into installing an electrical sub panel in my garage, and am wondering if this is something that requires a permit and inspection. If so, can I do this work myself? I have a copy of NFPA-70, 2014.
I am also considering increasing the electrical service to my house from 100 A to 200 A. Do you know what portion of this work I can do myself?
Thank you,Walter JanesÂ

01-16-19

On Wed, Jan 16, 2019 at 10:13 AM David Lersch <davejosie@juno.com> wrote:
Any electrical work needs a permit, you will need to contact utility co. For work order to upgrade. Unless utility has an issue with you doing the service upgrade, you can do the work yourself. It will need to be inspected.

01-16-19

From: Tsjellum van der Stok <tsjellum@gmail.com>
To: David Lersch <davejosie@juno.com>
Subject: Re: Electrical panel install in garage
Date: Wed, 16 Jan 2019 14:46:49 -0500
OK, thank you. Who do I contact for a permit and to schedule an inspection?

01-16-19

On Wed, Jan 16, 2019, 3:51 PM David Lersch <davejosie@juno.com wrote:

Town hall has permit applications, call me to schedule inspections. With new circuit panel you will need to upgrade to new arc fault breakers per code. Town meets 1st and 3rd Wed. To approve permits. Check with utility to get a work order for 200amp upgrade. Service entrance req. Are online for each utility company.

01-17-19	1106 Route 12A, large Brick colonial across from the Grange.

I'm headed to fill out the permit tomorrow AM, and have the power company coming to take a look in the morning as well.

To clarify, when/if the permit is approved, I will schedule the power company to come and increase the service entrance size. I will then run 2/0 copper (or 4/0 aluminum) SER cable from the meter base to the new 200A panel. At what point do you need to inspect? I'm not sure of the order of operations here, any light you could shed would be much appreciated.

My answer same day. Inspection needed when he is ready to reconnect to utility, needs our approval before they will reconnect. Next inspection is when the panel is all wired.

1-25-19

Hi David,

To clarify, all the breakers in the panel must be arc fault, or just the 100A that feeds the garage. They are like 10x the price

My reply. The 100amp to garage is a standard breaker. The breakers in the garage need to be GFI unless there is living space in the garage. The new house panel will need to have correct breakers installed per NEC.

Hi David,

01-31-19

My name is Stacey Dameron and my husband, Dan, and I have purchased land at 75 Ledge

Drive in Plainfield. We are hoping to build a 3 bedroom, Cape Style, modular home this

summer at the property and I was hoping to speak with or meet with you to learn about the

building process and requirements to make sure we have a successful build and are in full

compliance. Iâ€™m currently on maternity and can be flexible in regards to speaking via

phone or meeting in person.

We look forward to working with you!!

Warmly,

Stacey Dameron

staceyhildreth@yahoo.com