Bill Taylor

billtatloylormvwd@gmail.com

04-16-20	I told Bill last winter that I would inspect his 12'x26' shed addition. Went by and inspected the shed addition with metal roof. Built with 6x6 posts buried in the ground and construction looked okay. I will issue a Certificate of Completion.

Time 0.6

David H Lersch

Plainfield Building Inspecto

Completion Certificate

TOWN OF PLAINFIELD, NH

This certifies that the work described by Building Permit # 2019-62, at 58 Jenny Road, Meriden, NH, Map/Lot 215-25 has been completed in accordance with the provisions of the International Residential 2009 Code and the Codes of the Town of Plainfield.

Description of Work: Construct 14'x26' pole type shed addition to existing shed with gravel floor.

Portion of structure inspected: Completed garage.

Applicants Name: William S. Taylor

PO Box 44

Meriden, NH 03770

April 16, 2020

Building Code Official Signature   Date										        David H. Lersch