04-09-20	Talked to Marc about garage with studio. He was going to have his daughter live in the studio.

I let him know that the snow load was 80psf not 40psf and he needed to contact builder and get it 		changed as well as an updated drawings. We discussed egress window requirements and the one

hour fire separation and some ideas of how to enclose the stairs and have a door to outside and

one fire rated into the garage. I told him to call Steve as he needs zoning approval and should

ask for permission for an ADU.

Time 0.1

05-26-2020	Went by to see if there was any activity, there was none.

Time 0.9

05-27-2020	Received a call from Marc. He is going to check on updated plans and said he talked to Steve about 		zoning. They will be changing the window to meet egress.

Time 0.1

08-06-20	Barden concrete called to have me inspect the footer forms. Al rebar installed, supported and

ground wire installed.

Time 1.0

08-07-20	I inspected the wall forms with rebar installed. Looked okay. I also inspected the trench for

plumbing and electric from garage.

Time 0.8