YatesMorley Inc.

533 Coon Club Road

West Windsor, Vt 05089

709-7055

Permit # 2012-32

Map/Lot 256/27

Additions to store at 1190 Route 12A

05-03-12	Permit 2012-32, 1190 Route 12A. Met with Ann to go over plans for the two additions and to pick up a full set of plans.

Time 0.3

06-11-12	Permit 2012-32, 1190 Route 12A. Met with contractor Dave to go over plans, requirements, and inspections.

Time 0.9

06-19-12	Permit 2012-32, 1190 Route 12A. I received a call from Dave about the sheetrock requirements. I went by and let him know that it needs 5/8 fire code sheetrock.

Time 0.2

06-29-12	Permit 2012-32, 1190 Route 12A. Dave called to have me inspect the rough in electrical so they could install sheetrock. Looked okay and let Ann know it was okay.

Time 0.4

07-02-12	Permit 2012-32, 1190 Route 12A. I inspected the insulation on both additions. It was okay.

Time 0.3

07-12-12	Permit 2012-32, 1190 Route 12A. I stopped by as I was going out of town and wanted to see the progress and if I needed to okay anything before leaving. They had the wall removed from the new addition to the store. I inspected some of the new wiring for the lights and the changes needed when removing a wall with electrical wiring.

Time 0.2

David H Lersch

Plainfield Building Inspector