Robert Fegan

PO Box 229

Lebanon

675-9375

Permit # 2017-61

Map/ID #  258/21

28x48 garage

10-04-17	Permit 2017-61, 86 Carvel Lane. I inspected the forms for the floating 			slab. Wire mesh was supported by long lengths of chairs and rebar was 			installed around the perimeter. Well constructed.

Time 0.3

10-19-17	Permit 2017-61, 86 Carvel Lane. Received a call to inspect the trench 			from the pole across the driveway to the garage slab. He wanted me to 			inspect so he could backfill at least the portion under the driveway so he 			could get in and out. Was deep enough, had plenty of sand put in trench. 			Also Eversource will be inspecting the conduit as well as they will pull the 		wires to the garage. Robert said he will start putting up some framing but 			since he is paying as he goes, he will not be finished for over a year.

Time 0.6

08-21-18	Permit 2017-61, 86 Carvel Lane. Went by to inspect the service as Bob 			needed me to inspect and have Eversource connect power. When I got 			there meter panel was installed with meter and was working. Wires were 			buried until they reached the utility pole, wires connected and went aerial 			to utility pole beside road. No work order on web site, called Bob and left 			message.

Time 0.3

10-16-18	Permit 2017-61, 86 Carvel Lane. Bob called to have me inspect rough in 			electrical wiring. Wires ran but no boxes as he is going to use surface 			mount boxes. Panel and wire runs looked okay. He is installing R-38 			insulation in walls and using plywood on walls.

Time 0.3

04-11-19	Letter sent 10-19-18, no response as of 04-11-19. Permit expired without a final inspection and a Certificate of Completion.

David H Lersch

Plainfield Building Inspector